## Slide 1
Post condition results to the given REST API endpoint using the supplied credentials
Connect to the required S3 bucket using the supplied AWS credentials
Algorithm initiated in a Docker container
Load the input files from the correct storage filesystem
Filesystem
Local
S3
Load files
Two input files are required in the storage location, namely:
Samples.json – List of equipment data at one or more timestamps.
Limit.json – List of limits for the equipment.
Equipment data and limits
For each equipment item in the equipment data
For each data field in the data for the equipment item
At each timestamp select the worse condition based on the upper and lower bounds of the limits
Identify the previous worst condition in the condition results (at timestamp less than or equal to the new condition)
New condition
Condition Results
New and previous condition
No previous condition
Add to condition results
Yes
Previous condition is for the same data field and not equal to new condition
No
Yes
Previous condition is for a different data field and less severe than new condition
No
Yes
Return condition results
Condition Results
Add the extra return arguments to the condition results
Requested return method
Store condition results as a JSON file in same storage and location as the input files
API
storage